# Lab 2 Report – Parallel Circuits & Measurements

## Name:

- Lab Partners:

# Table 1 - Parallel Load States (15)

| State | Req, predict | I1, predict | I2, predict | Itotal, predict | Itotal,meas | Ptotal, predict | Vbranch,meas |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A: R1 only |  |  | N/A |  |  |  |  |
| B: R1¦¦R2 |  |  |  |  |  |  |  |

What did adding a new branch do to the original circuit? Why?

# Table 2 – Known AC Waveform (20)

Generator settings are prefilled. Before measuring, calculate the blank expected values from those settings. Express relevant values in engineering notation.

| Quantity | Expected from Generator Settings | Oscilloscope Measurement |
| --- | --- | --- |
| Waveform | Sine |  |
| Frequency (Hz) | 1.00 kHz |  |
| Period (s) |  |  |
| Peak-to-peak (Vpp) | 2.00 Vpp |  |
| Peak amplitude (Vpeak) |  |  |
| AC RMS (VRMS) |  |  |
| DC offset (VDC) | +1.00 V |  |
| Maximum voltage (Vmax) |  |  |
| Minimum voltage (Vmin) |  |  |

What did volts/div and seconds/div change on the display, and what did they not change at the source?

# Table 3 - Configuration Challenges (15)

Enter the Vpp, Vmax, and Vmin for each instance.

| Challenge | Correct baseline | Changed setting | Observed display |
| --- | --- | --- | --- |
| Probe-factor mismatch |  | 10x probe / 1x channel |  |
| AC coupling |  | DC to AC coupling |  |

- For each challenge, did the electrical signal change, or did only the instrument's interpretation change? Explain.

# Table 4 - Instrument Loading (20)

Make sure to express all relevant values in engineering notation.

| Condition | Input resistance | Effective lower resistance | Predicted Vout | Measured Vout | Loading error | Probe/channel setting |
| --- | --- | --- | --- | --- | --- | --- |
| Ideal unloaded | ∞ | 100 kΩ |  | N/A | 0% | N/A |
| DMM |  |  |  |  |  | V/Ω |
| Oscilloscope 1x |  |  |  |  |  | 1x / 1x |
| Oscilloscope 10x |  |  |  |  |  | 10x / 10x |

- Which instrument caused the largest loading error? Why?

# Evidence (15)

Insert a photo as evidence of each scenario:

## State B Current

Pictured: Setup of State B on your breadboard with the current reading in the DMM.

## Baseline Waveform

Pictured: The AC waveform as shown in the oscilloscope.

## Configuration Challenge

Pictured: Any 1 scenario showing an incorrect display in the oscilloscope.

## Loading Divider

Pictured: The loading divider circuit on your breadboard showing a voltage measurement in the DMM.

# Conclusion (15)

Give a summary of what you did in this lab. What was easy to do? What was difficult? What did you learn this lab? In addition, answer these questions:

- What was difficult or surprising when you first used the oscilloscope, and what setting or action helped you obtain a trustworthy waveform?

- Based on your loading-divider results, when does instrument loading matter, and when can it be treated as negligible? Refer to the relationship between instrument input resistance and circuit resistance.